| Radiation Safety Committee | RADIATION SAFETY INSPECTION CHECKLIST |
| --- | --- |

| PRINCIPAL INVESTIGATOR: |  | DATE: |  |
| --- | --- | --- | --- |
| PI REPRESENTATIVE: |  | DEPARTMENT: |  |
| BUILDING: |  | LAB ROOM(S): |  | LAB PHONE: |  |
| INSPECTOR(S): |  | In vivo work with tracers |

- RECORDS, NOTICES, SIGNS

| S |  | U |  | C |  | N/A |  | S=Satisfactory U=Unsatisfactory | C=Corrective action taken during inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1* | Postings (Signs/Labels/Notice) |  |
|  |  |  |  |  |  |  | 2.* | Radiation Notebook Organization |  |
|  |  |  |  |  |  |  | 3.* | Waste Forms and Records |  |
|  |  |  |  |  |  |  | 4. | Radiation Survey Records Available and Appropriate |  |
|  |  |  |  |  |  |  | 5. | Annual Radiation Source Inventory |  |
|  |  |  |  |  |  |  | 6.* | Current Manual Available |  |
| Comments: |  |

- PROTECTIVE PROCEDURES AND GENERAL SAFETY

| S |  | U |  | C |  | N/A |  | S=Satisfactory U=Unsatisfactory | C=Corrective action taken during inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1.* | Security: locked or occupied |  |
|  |  |  |  |  |  |  | 2.* | No Food Items in Use, Storage Areas: signage, non-food/ food only |  |
|  |  |  |  |  |  |  | 3.* | Bench Covers and Area Markings |  |
|  |  |  |  |  |  |  | 4.* | Personal Protective Equip: Lab Coat, Gloves, Eye Protection; no sandals |  |
|  |  |  |  |  |  |  | 5.* | Survey Instrument/Area monitors - Battery and Calibration |  |
|  |  |  |  |  |  |  | 6. | Scintillation Counter Calibrated |  |
|  |  |  |  |  |  |  | 7.* | Chem Fume Hood - overcrowded / airfoil / alarm off. |  |
|  |  |  |  |  |  |  | 8. | Proper Use/Storage of Dosimeters |  |
|  |  |  |  |  |  |  | 9. | Lab, Hallways, Exits free of obstruction. |  |
|  |  |  |  |  |  |  | 10. | Haz Chems properly stored, labeled, contained |  |
|  |  |  |  |  |  |  | 11.* | Waste – Liquid: labeled (mCi, date added and type), divided by isotope, and chemical |  |
|  |  |  |  |  |  |  | 12.* | Waste – Dry, labeled (mCi, date added and type) |  |
|  |  |  |  |  |  |  | 13. | No Radioactivity in Ordinary Trash |  |
|  |  |  |  |  |  |  | 14.* | Radiation Level ( 2 mrem/hr |  |
|  |  |  |  |  |  |  | 15.* | Contamination (dpm), ( limits (600 DPM = decon & resurvey) |  |
|  |  |  |  |  |  |  | 16. | Eyewash and Shower Equipment |  |
|  |  |  |  |  |  |  | 17. | Fire Prevention and Detection Equipment |  |
|  |  |  |  |  |  |  | 18. | All Storage must be at least 18 inches below sprinkler heads |  |
|  |  |  |  |  |  |  | 19. | Electrical Cords, Receptacles |  |
|  |  |  |  |  |  |  | 20. | Equipment Interlocks, and other equipment safety |  |
| Comments: |  |

*Immediate Radiation Safety Issues	Adopted on October 29, 2014